INTERNAL FEATURES

- Internal walls painted Almond White

- Internal white panelled doors with chrome effect door furniture

- Smooth skimmed ceilings

- White gloss internal mouldings

- Staircase to be painted white with contrasting handrail

- Wardrobes fitted to master bedroom in detached properties (see working drawings)

- Wiring for satellite TV (Sky compatible)

- TV point to lounge, master bedroom and family room (where applicable)

- White electrical sockets and pendant light fittings

- Fused spur for provision of electric fire (4-bedroom properties only)

- USB sockets (kitchen and master bedroom only)

EXTERIOR FEATURES

- Sealed double glazed white PVC-U windows, 
with French windows fitted

- Front door – GRP pre finished door in a solid 
colour externally and white internally

- Rear door – GRP door finished in white

- External light to front entrance

- Steel up and over garage door painted to match front door (where applicable)

- Patio and pathways to be concrete paving flags (as per working drawing)

- 1.8m timber close boarded fence to side and rear

- Turf and landscaping to front garden (refer to landscape layout)

- Rear garden to be top soil

- Driveways to be block paved

- All shared drives and parking courts to be tarmac

KITCHEN & UTILITY FEATURES

- Choice of kitchens from Panorama Kitchens

- Choice of co-ordinating laminate worktops

- Choice of Johnson’s ceramic floor tiles to kitchen and breakfast area

- Ceiling downlighters to kitchen area

APPLIANCES

- 600mm gas hob with recirculating extractor hood and single oven fitted to 2 & 3-bed properties

- 750mm gas hob with 900mm extractor hood, double oven fitted to 4-bed detached properties only

- Integrated fridge freezer

- Integrated dishwasher to 4-bed detached 
properties only

BATHROOM, EN-SUITE & CLOAKROOM

- Ideal Standard Tempo range in white 
Shower to en-suite (where applicable)

- Shower valve to be Aqualisa Dream

- Low level shower tray with concealed waste

- Shower screen to enclosure

- Shower over bath (except in bathrooms with 
both shower cubicle and bath)

- Choice of co-ordinating wall tiles (see working drawings)

- Downlighters fitted to master en-suite

- Chrome heated towel rail fitted to bathroom 
and en-suite

ENERGY SAVING FEATURES

- Energy efficient gas central heating, zone 
controlled and weather compensated

- 100% low energy light fittings throughout

- Insulated brick/block cavity construction

- 400mm (min) thick roof insulation